This PRODUCT MASTERSPEC is licensed by ARCOM, for limited distribution by Tremco, Inc. for use on a single project. Tremco modifications are Copyright 2005 – 2010 by Tremco, Inc. Review and accept changes according to project requirements and specifier's practice.

For more information about Tremco roofing products, contact Tremco Commercial Sealants and Waterproofing, Beechwood, OH 44122, (800) 551-3949, Web address:  http://www.tremcosealants.com, Email address:  eretzbach@tremcoinc.com.

SECTION 07 18 00 - TRAFFIC COATINGS

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

Section includes traffic coatings for the following applications:

Pedestrian Traffic.

Balcony Applications

Mechanical Rooms

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

      - PREINSTALLATION MEETINGS

Pre-installation Conference:  Conduct conference at Project site.

Review requirements for traffic coating products and installation, including surface preparation, substrate conditions, expansion joint requirements, project and manufacturer's details, installation procedures, mockups, testing and inspection requirements, protection and repairs, and coordination and sequencing of traffic coating work with work of other Sections.

      - ACTION SUBMITTALS

Product Data:  For each type of traffic coating product and expansion joint accessory specified, including installation instructions.

"Product Test Reports for Credit SS 7.2" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools; coordinate with requirements for traffic coatings that are roof coverings.

"Product Data for Credit IEQ 4.2" Subparagraph below applies to LEED-NC and LEED-CS.  Coordinate with requirements for paints and coatings.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

Shop Drawings:  For traffic coatings and system components.

Include details for treating substrate joints and cracks, flashings, deck penetrations, and other termination conditions.

Samples for Initial Selection:  For each type of exposed finish.

Samples for Verification:  For each type of exposed finish, prepared on rigid backing.

      - INFORMATIONAL SUBMITTALS

Qualification Data:  For Installer.

Product Certificates:  For each type of traffic coating.

Retain first paragraph below if retaining subparagraph requiring testing to obtain SWRI validation in "Quality Assurance" Article..

Retain "Field quality-control reports" Paragraph below if Contractor is responsible for field quality-control testing and inspecting.

Field quality-control reports.

Sample Warranty:  For special warranty.

      - CLOSEOUT SUBMITTALS

Maintenance Data:  For traffic coatings to include in maintenance manuals.

      - QUALITY ASSURANCE

Before retaining requirements for certification of Installer by manufacturer, verify availability.  See "Introduction" Article in the Evaluations.

Installer Qualifications:  An Installer who is trained and approved by manufacturer.

Mockups:  Build mockups to set quality standards for materials and execution.

Indicate portion of substrate represented by mockup on Drawings or draw mockup as separate element.

Build mockup for each traffic coating system and substrate to receive traffic coatings.

Size:  150 sq. ft. of each substrate to demonstrate surface preparation, joint and crack treatment, thickness, texture, color, and standard of workmanship.

If applicable, include no less than 13 ft (3.96m) including a minimum of one splice joint of  Willseal Expansion Joint System.

Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

      - FIELD CONDITIONS

- Environmental Limitations:  Apply traffic coatings within the range of ambient and substrate temperatures recommended in writing by manufacturer.  Do not apply traffic coatings to damp or wet substrates, when temperatures are below 40 deg F, when relative humidity exceeds 85 percent, or when temperatures are less than 5 deg F above dew point.

- Do not apply traffic coatings ( or expansion joint accessories if applicable) in snow, rain, fog, or mist, or when such weather conditions are imminent during the application and curing period.  Apply only when frost-free conditions occur throughout the depth of substrate

- Do not install traffic coating until items that penetrate membrane have been installed.

      - WARRANTY

Manufacturer's Warranty:  Manufacturer agrees to repair or replace traffic coating that fails in materials or workmanship within specified warranty period.

Failures include, but are not limited to, the following:

            - Adhesive or cohesive failures.

            - Abrasion or tearing failures.

            - Surface crazing or spalling.

            - Intrusion of water, oils, gasoline, grease, salt, deicer chemicals, or acids into deck substrate.

Warranty Period:  One year [Five years] from date of Substantial Completion.

- PRODUCTS

      - MATERIALS, GENERAL

Material Compatibility:  Provide primers, one coat pedestrian system; and accessory materials that are compatible with one another and with substrate under conditions of service and application, as demonstrated by manufacturer based on testing and field experience.

Source Limitations:

Obtain primary traffic-coating materials, including primers and joint sealants from traffic-coating manufacturer.  Obtain accessory materials including aggregates, sheet flashings, expansion joints material, and substrate repair materials of types and from sources recommended in writing by primary material manufacturer.

Traffic-coating systems are available in various numbers of coats; coating thicknesses; aggregate spreading rates; and compositions for light-, moderate-, normal-, standard-, heavy-, and extra heavy-duty applications.  Often, several systems are used for different areas of a Project to form a single, seamless, wear-balanced membrane.

See the table at the end of the Evaluations for a list of manufacturers' products.  Use this table in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Retain "Fire-Test-Response Characteristics" Paragraph below for traffic coatings that are roof coverings; revise to suit Project.  Indicate class for each traffic coating when tested according to ASTM E 108.  Verify requirements of authorities having jurisdiction and of Owner's insurer.

      - TRAFFIC COATING FOR PEDESTRIAN APPLICATIONS

Traffic Coating:  Manufacturer's standard aliphatic urethane, low-odor, low-VOC, exterior exposure, traffic-bearing, seamless, high-solids-content, cold liquid-applied, elastomeric, waterproofing membrane system with integral wearing surface for pedestrian traffic.

Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

            - Tremco Incorporated:  Vulkem OC810

Primer:  Liquid waterborne primer recommended for substrate and conditions by traffic-coating manufacturer.

Material:  Urethane.

            - TREMPrime Multi Surface Primer

            - Vulkem 191 Primer

One Coat System: Aliphatic polyurethane

Application:  Roller-applied or Self-leveling.

Thicknesses:  Minimum wet film thickness (35-40 wet mils) as recommended in writing by manufacturer for substrate and service conditions indicated, measured excluding aggregate.

Aggregate Content:  As recommended in writing by traffic-coating manufacturer for substrate and service conditions indicated.

Color:  As selected by Architect from manufacturer's standard range.

Aggregate:  Manufacturer's standard aggregate for each use indicated of particle sizes, shape, and minimum hardness recommended in writing by traffic-coating manufacturer.

Retain "Fire-Test-Response Characteristics" Paragraph below for traffic coatings that are roof coverings; revise to suit Project.  Indicate class for each traffic coating when tested according to ASTM E 108.  Verify requirements of authorities having jurisdiction and of Owner's insurer.

Retain "VOC Content" Paragraph below if required for LEED-NC or LEED-CS Credit IEQ 4.2 and product is used inside the weatherproofing system such as for equipment rooms and underground parking.  Coordinate product selection to ensure that products comply.

VOC Content:  Traffic coating shall have a VOC content of 30 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools Credit IEQ 4 and product is used inside the weatherproofing system such as for equipment rooms and underground parking.  Coordinate product selection to ensure that products comply.

      - ACCESSORY MATERIALS

Single Component, NonSag, Traffic-Grade, polyurethane Joint Sealant:  ASTM C920, Type NS, Class 50, for Use T, NT

Products:  Subject to compliance with requirements, provide one of the following:

            - Tremco Incorporated; Dymonic 100

Retain "Thickness" Subparagraph below if required.  If retaining, verify thickness requirement based on manufacturer's product data.

Products: Tremco Incorporated; DualFlex Membrane.

Aggregate: 12-20 mesh, post manufactured/SBR ground rubber

Products: Subject to compliance with requirements, provide one of the following:

            - Tremco Rubber Aggregate 12-20 mesh

Products: Expansion Joint Pre-compressed or Closed Cell, Monolithic Foam System. Foam Structure Must not Contain Unbonded Foam Laminations;

- Willseal® 250 for use in both vehicular and pedestrian traffic applications.

- Willseal ® 250-R for use in both vehicular and pedestrian traffic applications requiring additional point load resistance.

- Willseal® 250-R for use in both vehicular and pedestrian traffic applications requiring additional point load resistance.

- Willseal® 250-CR for use in both vehicular and pedestrian traffic applications subject to chemical exposure, reference Willseal list of approved chemicals.

- Willseal® Coreseal for use in both vehicular and pedestrian traffic applications requiring +/-25% movement capability, closed cell, and a lightweight seal.

- Willseal® Color Coreseal – H for use in both vehicular and pedestrian traffic applications requiring +/-25% movement capability, closed cell, and a lightweight seal. For vertical applications refer to Color Coreseal – V.

- Willseal® Color Coreseal – CM for use in both vehicular and pedestrian traffic applications requiring +/-25% movement capability, closed cell, and a lightweight seal with an integrated waterproofing membrane. For vertical applications refer to Color Coreseal – V.

- Willseal® FR-H - for use in both vehicular and pedestrian traffic applications requiring hourly fire rated systems. For vertical applications refer to Willseal® FR-V.

- Willseal® approved accessory sealants as per Willseal application instructions.

Retain this article if pavement markings are required.  Retain first "Pavement-Marking Paint" Paragraph below if specifying pavement-marking paint in another Section; revise to suit Project.  Pavement-marking paint specified for exterior paving may require lower VOC limits if used inside the weatherproofing system.

Retain one of four "Pavement-Marking Paint" paragraphs below if specifying pavement-marking paint in this Section; revise to suit Project.  Verify availability with pavement-marking paint manufacturers.

Drying time of Type N in first "Pavement-Marking Paint" Paragraph below is 15 to 30 minutes.  Type F dries faster, in three to six minutes, if heated to about 125 deg F (51.5 deg C).  Type S dries slowest and is used only where traffic cones can be in place for one hour or more.  Alkyd-resin-type pavement paints exceed 150-g/L VOC limit imposed by the EPA for "traffic-marking coatings," but may meet 450-g/L VOC limit imposed by the EPA for "zone-marking coatings."  See Evaluations.

- EXECUTION

      - EXAMINATION

Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for surface smoothness, surface moisture, and other conditions affecting performance of traffic-coating work.

Verify that substrates and joints are visibly dry and free of moisture.

Test for moisture content by method recommended in writing by traffic-coating manufacturer.

Prepare written report, endorsed by Installer, listing conditions detrimental to performance of traffic-coating work.

Proceed with installation only after substrate construction and penetrating work have been completed and unsatisfactory conditions have been corrected.

Begin coating application only after minimum concrete-curing and -drying period recommended in writing by traffic-coating manufacturer has passed and after substrates are dry.

Application of coating indicates acceptance of surfaces and conditions.

      - PREPARATION

General:  Before applying traffic coatings, clean and prepare substrates according to ICRI CSP 2-4 and manufacturer's written instructions to produce clean, dust-free, dry substrate for traffic-coating application.  Remove projections, fill voids, and seal joints if any, as recommended in writing by traffic-coating manufacturer.

Schedule preparation work so dust and other contaminants from process do not fall on wet, newly coated surfaces.

Mask adjoining surfaces not receiving traffic coatings to prevent overspray, spillage, leaking, and migration of coatings.  Prevent traffic-coating materials from entering deck substrate penetrations and clogging weep holes and drains.

Retain "Concrete Substrates" Paragraph below for concrete substrates.  Procedure provides a uniform substrate that is generally in acceptable condition to receive coatings.  Retain option only if concrete surface texture may not meet traffic-coating manufacturer's requirements; revise option if only part of concrete surface finish is inadequate.  See "ASTM C 1127 Requirements" Article in the Evaluations.

Concrete Substrates:  Mechanically abrade surface to a uniform profile acceptable to manufacturer, according to ICRI CSP 2-4.  Do not acid etch.

Remove grease, oil, paints, and other penetrating contaminants from concrete.

Remove concrete fins, ridges, and other projections.

Remove laitance, glaze, efflorescence, curing compounds, concrete hardeners, form-release agents, and other incompatible materials that might affect coating adhesion.

Remove remaining loose material to provide a sound surface, and clean surfaces.

      - TERMINATIONS AND PENETRATIONS

Prepare vertical and horizontal surfaces at terminations and penetrations through traffic coatings and at expansion joints, drains, and sleeves according to ASTM C1127 and manufacturer's written instructions.

Provide sealant cants at penetrations and at reinforced and non-reinforced, deck-to-wall butt joints.

Terminate edges of deck-to-deck expansion joints with preparatory base-coat strip.

Install sheet flashings at deck-to-wall expansion and dynamic joints, and bond to deck and wall substrates according to manufacturer's written recommendations.

      - JOINT AND CRACK TREATMENT

Prepare, treat, rout, and fill joints and cracks in substrates according to ASTM C1127 and manufacturer's written recommendations.  Before coating surfaces, remove dust and dirt from joints and cracks according to ASTM D4258.

              - Fill expansion joints greater than 1” with specified Willseal® Expansion Joint material, contact Tremco for sealant recommendation. Do not apply traffic coating over expansion joints.

Comply with recommendations in ASTM C 1193 for joint-sealant installation.

Apply reinforcing strip in traffic-coating system where recommended in writing by traffic-coating manufacturer.

      - TRAFFIC-COATING APPLICATION

Apply traffic coating according to ASTM C1127 and manufacturer's written instructions.

Retain first paragraph below if applicable.

Start traffic-coating application in presence of manufacturer's technical representative.

Verify that wet film thickness of 35-40 wet mils complies with requirements every 100 sq. ft.

Uniformly broadcast aggregate on coats specified to receive aggregate.  Embed aggregate according to manufacturer's written instructions.  After coat dries, sweep away excess aggregate.

Apply traffic coatings to prepared wall terminations and vertical surfaces to height indicated; omit aggregate on vertical surfaces.

Cure traffic coatings.  Prevent contamination and damage during application and curing stages.

      - FIELD QUALITY CONTROL

Retain "Testing Agency" Paragraph below to identify who shall perform tests and inspections.  If retaining second option in paragraph, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

Traffic-coating inspection may be required by manufacturer before issuing warranty.

Final Traffic-Coating Inspection:  Arrange for traffic-coating manufacturer's technical personnel to inspect membrane installation on completion.

Retain subparagraph below if Architect or Owner wants to be present during manufacturer's final inspection.

Notify Architect or Owner 48 hours in advance of date and time of inspection.

Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

Prepare test and inspection reports.

      - PROTECTING AND CLEANING

Protect traffic coatings from damage and wear during remainder of construction period.

Clean spillage and soiling from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

END OF SECTION 07 18 00